Compliance Register

| REF | Compliance Area | Legislation/requirement | What we need to do | Frequency | Evidence | Policy | Status | Last Reviewed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CR001 | Gas Safety | Gas Safety (installation and use) Regulations 1998 | Ensure Gas appliances and installations are safety checked within required timescales | Annual | Gas Safety Certificates/Compliance Report | Gas Safety Policy/Procedure | Compliant | 01/09/2026 |
| CR002 | Electrical Safety | Electrical Safety Standards in Private rented sector (England) Regulations 2020, as amended by the 2025 Extension to Social Rented Sector Regulation | Electrical Inspection Condition report (EICR) We will PAT test Pivotal supplied portable appliances | 5 Years Annual | EICR PAT Reports | Electrical Testing Safety Policy/Procedure Portable Appliances Testing Policy | Compliant Compliant | 01/09/2026 |
| CR003 | Fire Safety | Regulatory Reform (Fire Safety) Order 2005 | Fire Risk assessments Fire Alarm Service Emergency Lighting Service Fire Fighting Equipment Service | Annual Bi Annual Annual Annual | Fire Risk Assessment Engineer Service Report Engineer Service Report Engineer Service Report | Fire Safety Policy/Procedure | Compliant: Actions Outstanding Compliant: Actions being monitored Compliant Compliant | 01/09/2026 |
| CR004 | Asbestos | Control of Asbestos Regulations 2012 | Asbestos Management Report Asbestos Re-inspection | Risk Based Annual | Asbestos Management Survey Asbestos Re-inspection Report | Asbestos Management Policy | Compliant Compliant | 01/09/2026 |
| CR005 | Water Safety | HSE/water safety requirements | Legionella Risk assessment Water Asset Service/Maintenance | 2 Years Bi Annual/Annual | Legionella Risk Assessment Water Servicing Reports | Water Hygiene and Legionella Policy/Procedure | Compliant: Actions being monitored Compliant: Actions being monitored | 04/09/2026 |
| CR006 | Lifts | Lifting operations and lifting equipment Regulation 1998 (LOLER) | Lift Servicing LOLER Inspection | Bi Annual Bi Annual | Engineer Service Report LOLER Inspection Report | Lift Safety Policy | Compliant Compliant | 01/09/2026 |